## HeaderMap
client_header | canonical_field | note
Regelkast : | type | Device type/model code (UPE230, MG frequentie, drukopnemer...). Also carries the group-header text on rows where 'Column1' is blank -- verify 'group' populates correctly on those rows after the first test run.
Column1 | omschrijving | Blank header in source (auto-named 'Column1' on read) -- mapped by position, not by name match.
RK Lob C | rk | Confirmed real (see 'Schakelkast RK Lob C' BOM page) but blank in every row of this extract -- unverified whether it populates on a live run.
DI | DI | Simple digital input tier (subheader 's'). Every source row is type 'di+' (thermostats, storingsmeldingen, resets).
DI_2 | DI | Second DI source (subheader 'm'), motor/actuator tier -- pumps, dampers. MUST SUM with 'DI' above, not overwrite it. DI summing multiple raw columns is confirmed precedent (7268: DI = DI_bedrijf+DI_storing+DI_status). Verify on the UPE230 rows in normalized_review.xlsx.
DU | DO | Simple digital output tier. Every source row is type 'du' (storing urgent/niet urgent, installatie niet automatisch).
DU_3 | DO | Second DO source, motor/actuator tier -- pumps, dampers, fans. CAUTION: 7268 documented DO as NOT summing multiple raw columns (setdefault keeps only the first-seen value, ~18 points silently lost there). Check the UPE230 / 'Luchtklep o/d + di' rows in normalized_review.xlsx after the first run -- if DO comes back 0 or only reflects one of DU/DU_3, this needs an ingest.py fix (a third named DO source), not a header-map fix.
AI | AI | Confirmed -- every sensor row (dompelopnemer, drukopnemer, drukverschilopnemer, kanaalopnemer) uses this column alone.
AU | AO | Confirmed -- modulating valves (regelafsl. DN40/DN65) and fan speed signals (MG frequentie) use this column alone.
NOT MAPPED (see notes):
Left unmapped -- deliberately, not an oversight: '_1' blank on every row in this extract; unknown purpose. 'Buscommunicatie' (subheader IW) / 'Column6' (subheader VW): a bare point-count pair (Ingangswaarde/Verzendwaarde), not a protocol name. There is no column anywhere in this layout that names the bus protocol -- device type text is the only clue, and a header map can't express that. bus_protocol will read empty for every bus row (warmtemeter DN40/DN20, bekab_4x0,8) until this is resolved another way.

## valid_fields
canonical_field
rk
group
procescode
omschrijving
fabricaat
type
aantal
AI
AO
DI
DO
SOFT
voltage
power_kw
current_a
va
bus_protocol
bus_naam
derden_flag
locatie
regelkast_spec
opmerking
source_ref